TECHNICAL SPECIFICATIONS

125AT AUTOMATIC TRANSFER SWITCH

Specification:

| - Ampere Trip Rating | : | 125A |
| --- | --- | --- |
| - Voltage(V) | : | Up to 480V AC, 60Hz |
| - Pole | : | 2-Pole |
| - Phase | : | 1-Phase (L-N) |
| - Enclosure | : | NEMA 3R, powder coated, color beige/gray, push button/lock |
| - Min. LCD Digital Display (for Programmable digital controller) | : | Voltage (V), Frequency (Hz), Auto/Manual |
| - Min. Keypad Control or Button with LED Indicator | : | Power on/off, Manual/Automatic Operation Button, etc. |
| - Response Time | : | ≤ 10sec |
| - Inclusive of all wires, pipes and necessary accessories to operate the system |  |  |
| - Automatic Transfer Switch (ATS) shall be compatible to existing generator set |  |  |